FINANCE & GENERAL PURPOSES COMMITTEE

RISK ASSESSMENT SCHEDULE 2020-21

| LOCATION | ITEM | SPECIFICS | TYPE OF INSPECTION | FREQUENCY | RESPONSIBLE COMMITTEE | EXTERNAL CONTRACTOR | DATE CHECKED | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parish Office | Electrical Equipment Including hand tools | PAT | Technical | Annual | F & GP | Yes | 06/06/2019 | Next due 06/06/2020 |
|  | IT equipment PC to be replaced 2020-21 | PAT | Technical | Annual | F & GP | Yes | 06/06/2019 | Next due 06/06/2020 |
|  | Heating/Lighting | Fixed | Technical | 5 years | F & GP | Yes | 13/05/2015 | Due 06/06/2020 Storage heater replaced June 2018 |
|  | Fire Equipment | Extinguishers | Technical | Annual | F & GP | Yes | 08/05/2019 | Due 08/05/2020 TBC |
|  | Furniture | Std | Visual | Annual | F & GP | No | 25/09/2019 | Next due September 2020 |
|  | Outside of Parish Office building | Examined & found woodworm is inactive – 08/07/2015 | Visual to check for rot & woodworm | Annual | F& GP | Yes |  | Parish Office treated internally for woodworm October 2015 Visually monitor to ensure there is no new activity. Carpentry repairs to kitchen window sill & both outer doors completed August 2016 Repairs to front of office summer 2018 |